## Summary
LoRaWAN vs NB-IoT — Cost & Fit Summary | LoRaWAN vs NB-IoT — Cost & Fit Summary | LoRaWAN vs NB-IoT — Cost & Fit Summary | LoRaWAN vs NB-IoT — Cost & Fit Summary | LoRaWAN vs NB-IoT — Cost & Fit Summary | LoRaWAN vs NB-IoT — Cost & Fit Summary | LoRaWAN vs NB-IoT — Cost & Fit Summary | LoRaWAN vs NB-IoT — Cost & Fit Summary
UK planning benchmark • GBP ex VAT • 5-year default • category scenarios are independently editable | UK planning benchmark • GBP ex VAT • 5-year default • category scenarios are independently editable | UK planning benchmark • GBP ex VAT • 5-year default • category scenarios are independently editable | UK planning benchmark • GBP ex VAT • 5-year default • category scenarios are independently editable | UK planning benchmark • GBP ex VAT • 5-year default • category scenarios are independently editable | UK planning benchmark • GBP ex VAT • 5-year default • category scenarios are independently editable | UK planning benchmark • GBP ex VAT • 5-year default • category scenarios are independently editable | UK planning benchmark • GBP ex VAT • 5-year default • category scenarios are independently editable
Model headline | Model headline |  | What the model says | What the model says | What the model says | What the model says | What the model says
Categories modelled | 16 |  | At the current inputs, NB-IoT is lower cost in 15 technically viable categories and LoRaWAN in 1. The revised tariff applies £0.98 per device per month across the analysis horizon plus a £0.70 one-off fee, includes 17 MB per device per month, and charges £0.01 per excess MB. LoRaWAN can still catch up where many devices share each gateway. This remains a cost model, not a performance verdict; apply the technical gates before selection.
LoRaWAN lower-cost | 1
NB-IoT lower-cost | 14
Technically constrained | 1
Default horizon | 5
Sensor / use case | LoRa fit | NB fit | LoRa TCO/unit | NB TCO/unit | Cost winner | Technical recommendation | Confidence | Sensor / use case | LoRaWAN | NB-IoT
IAQ sensors | 5 | 4 | 284.05 | 356 | LoRaWAN | LoRaWAN for dense estates; NB-IoT for isolated buildings | Medium | IAQ sensors | 284.05 | 356
Parking bay sensors | 5 | 5 | #DIV/0! | #DIV/0! | NB-IoT | LoRaWAN on owned campus; NB-IoT for dispersed street assets | Medium | Parking bay sensors | #DIV/0! | #DIV/0!
Room displays | 3 | 3 | #DIV/0! | #DIV/0! | NB-IoT | LoRaWAN for simple e-ink; Wi-Fi/Ethernet for rich displays | Low | Room displays | #DIV/0! | #DIV/0!
Lux sensors | 5 | 4 | #DIV/0! | #DIV/0! | NB-IoT | LoRaWAN where a shared building network exists | Medium | Lux sensors | #DIV/0! | #DIV/0!
Metering — electricity and water | 5 | 5 | #DIV/0! | #DIV/0! | NB-IoT | LoRaWAN for estates; NB-IoT for utility-style dispersed meters | High | Metering — electricity and water | #DIV/0! | #DIV/0!
Fridge / process temperature | 5 | 5 | #DIV/0! | #DIV/0! | NB-IoT | Either; preserve local logging and alarm path | High | Fridge / process temperature | #DIV/0! | #DIV/0!
Waste water monitoring | 4 | 5 | #DIV/0! | #DIV/0! | NB-IoT | NB-IoT usually favoured for dispersed remote assets | Medium | Waste water monitoring | #DIV/0! | #DIV/0!
Water temperature | 5 | 5 | #DIV/0! | #DIV/0! | NB-IoT | Either; LoRaWAN when sites share coverage | High | Water temperature | #DIV/0! | #DIV/0!
Water flow | 5 | 5 | #DIV/0! | #DIV/0! | NB-IoT | Either; NB-IoT is simpler when widely dispersed | High | Water flow | #DIV/0! | #DIV/0!
Water leak detection | 5 | 5 | #DIV/0! | #DIV/0! | NB-IoT | LoRaWAN for density; NB-IoT for standalone premises | High | Water leak detection | #DIV/0! | #DIV/0!
Acoustic sensors | 4 | 5 | #DIV/0! | #DIV/0! | NB-IoT | NB-IoT for dispersed water loggers; either on campus | Medium | Acoustic sensors | #DIV/0! | #DIV/0!
Bin fill level — ultrasonic | 5 | 5 | #DIV/0! | #DIV/0! | NB-IoT | NB-IoT for citywide assets; LoRaWAN on campus/private estate | High | Bin fill level — ultrasonic | #DIV/0! | #DIV/0!
Vibration sensors | 4 | 4 | #DIV/0! | #DIV/0! | NB-IoT | Either for features; wired/Wi-Fi/LTE for raw waveform | Medium | Vibration sensors | #DIV/0! | #DIV/0!
Pressure sensors — medical gases | 4 | 4 | #DIV/0! | #DIV/0! | NB-IoT | LPWAN may supplement, never replace, the safety alarm system | Low | Pressure sensors — medical gases | #DIV/0! | #DIV/0!
Ultrasonic non-invasive — medical gases | 4 | 4 | #DIV/0! | #DIV/0! | NB-IoT | Either as supplementary telemetry; validate clinical compliance | Low | Ultrasonic non-invasive — medical gases | #DIV/0! | #DIV/0!

## Assumptions
LoRaWAN vs NB-IoT — Planning Assumptions | LoRaWAN vs NB-IoT — Planning Assumptions | LoRaWAN vs NB-IoT — Planning Assumptions | LoRaWAN vs NB-IoT — Planning Assumptions | LoRaWAN vs NB-IoT — Planning Assumptions | LoRaWAN vs NB-IoT — Planning Assumptions
Blue cells are editable. Costs exclude VAT and the business application/dashboard layer common to both options. | Blue cells are editable. Costs exclude VAT and the business application/dashboard layer common to both options. | Blue cells are editable. Costs exclude VAT and the business application/dashboard layer common to both options. | Blue cells are editable. Costs exclude VAT and the business application/dashboard layer common to both options. | Blue cells are editable. Costs exclude VAT and the business application/dashboard layer common to both options. | Blue cells are editable. Costs exclude VAT and the business application/dashboard layer common to both options.
Driver | Value | Unit | Basis | Source / evidence | Sensitivity note
Analysis horizon | 5 | years | Planning assumption |  | Change to 3, 7 or 10 years as required
Gateways per site | 1 | gateway/site | Planning assumption |  | Survey RF coverage; resilient designs may need 2+
LoRaWAN gateway hardware | 415.8 | £/gateway | Milesight UG65 UK price | https://ukiot.io/shop/ | Lower-cost gateways start around £190
LoRaWAN gateway installation | 300 | £/gateway | Planning allowance |  | Includes mounting, power and network connection
LoRaWAN gateway support | 60 | £/gateway/year | Planning allowance |  | Remote monitoring and firmware administration
LoRaWAN gateway power | 22 | £/gateway/year | 8 W at £0.31/kWh |  | Remove if hosted power is immaterial
LoRaWAN network server | 0 | £/device/month | Planning benchmark at scale | https://aws.amazon.com/marketplace/pp/prodview-djx65iyt6w5cy | Small fleets can face a fixed minimum; embedded/open-source can be lower
LoRaWAN fixed platform charge | 0 | £/deployment/year | Assumes shared or embedded server |  | Enter vendor minimum subscription if applicable
LoRaWAN device commissioning | 15 | £/device | Planning allowance |  | Provisioning, keys, labelling and acceptance
NB-IoT monthly connectivity | 0.98 | £/device/month | User-provided tariff |  | Applied for every month in the analysis horizon
NB-IoT SIM / activation one-off fee | 0.7 | £/device | User-provided tariff |  | Charged once per device
NB-IoT included data | 17 | MB/device/month | User-provided tariff |  | Monthly allowance; overage is charged separately
NB-IoT data overage | 0.01 | £/MB | User-provided tariff |  | Applied to monthly usage above 17 MB per device
NB-IoT device commissioning | 12 | £/device | Planning allowance |  | SIM/eSIM activation and acceptance
Annual device maintenance | 2 | % of hardware/year | Planning allowance |  | Excludes calibration regimes unique to the sensing application
Battery service visit | 35 | £/device/event | Planning allowance |  | Set higher for traffic management, confined space or clinical access
EUR to GBP | 0.85388 | £/€ | ECB, 24 Jul 2026 | https://www.ecb.europa.eu/stats/policy_and_exchange_rates/euro_reference_exchange_rates/html/index.en.html | Update for procurement date

## Category Model
Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO | Category-Level Five-Year TCO
Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns. | Each row is a standalone deployment scenario. Change quantities, sites, device prices, data and battery life in blue columns.
Sensor / use case | Deployment archetype | Units | Sites | LoRa HW £/unit | NB HW £/unit | Install £/unit | NB data MB/month | LoRa battery years | NB battery years | LoRa suitability (1–5) | NB suitability (1–5) | Required behaviour / boundary | Technical recommendation | Evidence confidence | LoRa device capex | LoRa shared infra | LoRa maintenance | LoRa server variable | LoRa TCO | LoRa TCO/unit | NB device & tariff | NB data overage | NB maintenance | NB TCO | NB TCO/unit | LoRa minus NB | Lower-cost option | Saving vs higher TCO | LoRa break-even units/site | Decision note
IAQ sensors | Indoor multi-site | 1069 | 1 | 180 | 195 | 35 | 14.88 | 5 | 3 | 5 | 4 | Periodic CO₂/VOC/PM/temperature metadata | LoRaWAN for dense estates; NB-IoT for isolated buildings | Medium | 245870 | 1125.8 | 56657 | 0 | 303652.8 | 284.05 | 322303.5 | 0 | 58260.5 | 380564 | 356 | -76911.2 | LoRaWAN | 20.21% | 15 | Review coverage, power and support model
Parking bay sensors | Outdoor campus / street |  | 1 | 125 | 140 | 85 | 0.2 | 5 | 4 | 5 | 5 | Occupancy events and health telemetry | LoRaWAN on owned campus; NB-IoT for dispersed street assets | Medium | 0 | 1125.8 | 0 | 0 | 1125.8 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | 1125.8 | NB-IoT | 100% | #DIV/0! | Review coverage, power and support model
Room displays | Indoor rooms |  | 1 | 200 | 220 | 50 | 0.5 | 99 | 99 | 3 | 3 | E-ink/status updates only; not rich interactive content | LoRaWAN for simple e-ink; Wi-Fi/Ethernet for rich displays | Low | 0 | 1125.8 | 0 | 0 | 1125.8 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | 1125.8 | NB-IoT | 100% | #DIV/0! | Review coverage, power and support model
Lux sensors | Indoor multi-site |  | 1 | 70 | 80 | 25 | 0.1 | 8 | 6 | 5 | 4 | Periodic light level and threshold alarms | LoRaWAN where a shared building network exists | Medium | 0 | 1125.8 | 0 | 0 | 1125.8 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | 1125.8 | NB-IoT | 100% | #DIV/0! | Review coverage, power and support model
Metering — electricity and water | Plantrooms / meters |  | 1 | 100 | 110 | 75 | 0.3 | 8 | 6 | 5 | 5 | Registers, pulse counts or Modbus data | LoRaWAN for estates; NB-IoT for utility-style dispersed meters | High | 0 | 1125.8 | 0 | 0 | 1125.8 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | 1125.8 | NB-IoT | 100% | #DIV/0! | Review coverage, power and support model
Fridge / process temperature | Indoor critical assets |  | 1 | 70 | 76 | 45 | 0.5 | 8 | 6 | 5 | 5 | Periodic temperature plus immediate excursion alarm | Either; preserve local logging and alarm path | High | 0 | 1125.8 | 0 | 0 | 1125.8 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | 1125.8 | NB-IoT | 100% | #DIV/0! | Review coverage, power and support model
Waste water monitoring | Remote outdoor assets |  | 1 | 300 | 320 | 250 | 1 | 5 | 4 | 4 | 5 | Level/quality/status metadata; no raw waveforms | NB-IoT usually favoured for dispersed remote assets | Medium | 0 | 1125.8 | 0 | 0 | 1125.8 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | 1125.8 | NB-IoT | 100% | #DIV/0! | Review coverage, power and support model
Water temperature | Remote / plantroom |  | 1 | 85 | 95 | 70 | 0.3 | 8 | 6 | 5 | 5 | Periodic readings and threshold alarms | Either; LoRaWAN when sites share coverage | High | 0 | 1125.8 | 0 | 0 | 1125.8 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | 1125.8 | NB-IoT | 100% | #DIV/0! | Review coverage, power and support model
Water flow | Remote / plantroom |  | 1 | 100 | 110 | 90 | 0.5 | 8 | 6 | 5 | 5 | Pulse/flow total and anomaly alarm | Either; NB-IoT is simpler when widely dispersed | High | 0 | 1125.8 | 0 | 0 | 1125.8 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | 1125.8 | NB-IoT | 100% | #DIV/0! | Review coverage, power and support model
Water leak detection | Indoor dense estate |  | 1 | 65 | 75 | 30 | 0.1 | 5 | 4 | 5 | 5 | Immediate event; local shut-off must not depend on cloud | LoRaWAN for density; NB-IoT for standalone premises | High | 0 | 1125.8 | 0 | 0 | 1125.8 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | 1125.8 | NB-IoT | 100% | #DIV/0! | Review coverage, power and support model
Acoustic sensors | Water / machinery |  | 1 | 150 | 165 | 80 | 2 | 5 | 4 | 4 | 5 | Edge-derived dB/features only; raw audio is unsuitable | NB-IoT for dispersed water loggers; either on campus | Medium | 0 | 1125.8 | 0 | 0 | 1125.8 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | 1125.8 | NB-IoT | 100% | #DIV/0! | Review coverage, power and support model
Bin fill level — ultrasonic | Distributed bins |  | 1 | 124 | 124 | 75 | 0.2 | 8 | 6 | 5 | 5 | Distance/fill percentage and alarms | NB-IoT for citywide assets; LoRaWAN on campus/private estate | High | 0 | 1125.8 | 0 | 0 | 1125.8 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | 1125.8 | NB-IoT | 100% | #DIV/0! | Review coverage, power and support model
Optical bin sensors / computer vision | Distributed bins |  | 1 | 450 | 475 | 180 | 5 | 4 | 3 | 2 | 2 | On-device inference only; do not send images over LPWAN | Use LTE-M/LTE/5G if images are required; LPWAN only for metadata | Low | 0 | 1125.8 | 0 | 0 | 1125.8 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | 1125.8 | Not decisive | 100% | #DIV/0! | Technical constraint dominates cost
Vibration sensors | Plant and machinery |  | 1 | 100 | 110 | 70 | 2 | 5 | 4 | 4 | 4 | Edge-computed RMS/FFT features; raw high-rate waveform unsuitable | Either for features; wired/Wi-Fi/LTE for raw waveform | Medium | 0 | 1125.8 | 0 | 0 | 1125.8 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | 1125.8 | NB-IoT | 100% | #DIV/0! | Review coverage, power and support model
Pressure sensors — medical gases | Clinical plantrooms |  | 1 | 140 | 150 | 180 | 0.5 | 8 | 6 | 4 | 4 | Secondary monitoring only; retain compliant wired alarms | LPWAN may supplement, never replace, the safety alarm system | Low | 0 | 1125.8 | 0 | 0 | 1125.8 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | 1125.8 | NB-IoT | 100% | #DIV/0! | Review coverage, power and support model
Ultrasonic non-invasive — medical gases | Clinical cylinders / pipes |  | 1 | 180 | 195 | 200 | 0.5 | 6 | 5 | 4 | 4 | Secondary level/flow telemetry with local fail-safe | Either as supplementary telemetry; validate clinical compliance | Low | 0 | 1125.8 | 0 | 0 | 1125.8 | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0! | 1125.8 | NB-IoT | 100% | #DIV/0! | Review coverage, power and support model

## Decision Guide
Decision Guide | Decision Guide | Decision Guide | Decision Guide | Decision Guide | Decision Guide
Cost follows architecture. Apply these gates before accepting the cheapest five-year TCO. | Cost follows architecture. Apply these gates before accepting the cheapest five-year TCO. | Cost follows architecture. Apply these gates before accepting the cheapest five-year TCO. | Cost follows architecture. Apply these gates before accepting the cheapest five-year TCO. | Cost follows architecture. Apply these gates before accepting the cheapest five-year TCO. | Cost follows architecture. Apply these gates before accepting the cheapest five-year TCO.
Question | LoRaWAN signal | NB-IoT signal | Preferred direction | Risk / caveat | Action
Are devices concentrated in owned buildings/campus? | Strong | Neutral | LoRaWAN | Gateway resilience and backhaul become your responsibility | RF survey; test plantrooms, basements and risers
Are devices geographically dispersed? | Weak unless public LoRaWAN exists | Strong | NB-IoT | Coverage is operator-dependent and can vary indoors/underground | Check carrier coverage and test with target SIM/device
Is payload small and infrequent? | Strong | Strong | Either | Frequent downlinks reduce battery life | Define bytes/message, messages/day and alarm bursts
Are images, video, raw audio or raw waveforms required? | Unsuitable | Usually unsuitable | LTE-M/LTE/5G/Wi-Fi/wired | Edge processing may turn raw data into tiny metadata | Specify raw vs edge-derived data explicitly
Is an immediate local safety action required? | Cloud path insufficient | Cloud path insufficient | Local/wired fail-safe | LPWAN latency, outage and battery state cannot be the sole safety layer | Keep local control and use LPWAN for supervisory telemetry
Will a battery visit be expensive? | Often strongest | Good | Compare tested battery life | Coverage enhancement and retry behaviour can dominate battery life | Pilot in worst-case radio locations
Do you require two-way frequent control? | Limited downlink capacity | Better but still LPWA | Consider LTE-M/Wi-Fi/wired | Battery and latency may be unacceptable | Define latency, acknowledgement and retry requirements
Do you need to avoid local infrastructure? | No | Yes | NB-IoT | Recurring carrier/vendor dependency replaces gateway ownership | Review contract, roaming and exit strategy
Suitability score: 5 = natural fit; 4 = good fit; 3 = conditional; 2 = major constraint; 1 = unsuitable for the stated behaviour. | Suitability score: 5 = natural fit; 4 = good fit; 3 = conditional; 2 = major constraint; 1 = unsuitable for the stated behaviour. | Suitability score: 5 = natural fit; 4 = good fit; 3 = conditional; 2 = major constraint; 1 = unsuitable for the stated behaviour. | Suitability score: 5 = natural fit; 4 = good fit; 3 = conditional; 2 = major constraint; 1 = unsuitable for the stated behaviour. | Suitability score: 5 = natural fit; 4 = good fit; 3 = conditional; 2 = major constraint; 1 = unsuitable for the stated behaviour. | Suitability score: 5 = natural fit; 4 = good fit; 3 = conditional; 2 = major constraint; 1 = unsuitable for the stated behaviour.

## Sources
Sources & Evidence Log | Sources & Evidence Log | Sources & Evidence Log | Sources & Evidence Log | Sources & Evidence Log | Sources & Evidence Log
Public sources support the benchmark and technical boundaries. Vendor quotations should replace indicative prices before procurement. | Public sources support the benchmark and technical boundaries. Vendor quotations should replace indicative prices before procurement. | Public sources support the benchmark and technical boundaries. Vendor quotations should replace indicative prices before procurement. | Public sources support the benchmark and technical boundaries. Vendor quotations should replace indicative prices before procurement. | Public sources support the benchmark and technical boundaries. Vendor quotations should replace indicative prices before procurement. | Public sources support the benchmark and technical boundaries. Vendor quotations should replace indicative prices before procurement.
Topic | Evidence used | URL | Accessed | Type | Model impact
NB-IoT tariff | £0.98/device/month plus £0.70 one-off; includes 17 MB/device/month |  | 2026-07-31 | User input | NB recurring connectivity, one-off fee and included-data inputs
NB-IoT overage | £0.01/MB above 17 MB/device/month |  | 2026-07-31 | User input | NB monthly data-overage formula
GBP/EUR | ECB reference rate: £0.85388 per €1 on 24 Jul 2026 | https://www.ecb.europa.eu/stats/policy_and_exchange_rates/euro_reference_exchange_rates/html/index.en.html | 2026-07-27 | Official | Currency conversion
UK NB-IoT reach | BT/EE announced NB-IoT coverage of 97% of UK population | https://newsroom.bt.com/bt-launches-multi-million-pound-nb-iot-network-to-support-uk-smart-cities/ | 2026-07-27 | Operator primary | Supports dispersed-asset option; location testing still required
UK NB-IoT use case | Vodafone NB-IoT supports leak detection without Wi-Fi | https://www.vodafone.co.uk/business/case-studies/leaksafe-and-vodafone-business-narrowband-iot | 2026-07-27 | Operator primary | Leak detection fit
Acoustic water logging | Vodafone says NB-IoT improved underground reach and power versus 3G/4G | https://www.vodafone.co.uk/business/case-studies/nb-iot-gutermann | 2026-07-27 | Operator primary | Acoustic/dispersed water fit
NB-IoT bandwidth boundary | Vodafone describes NB-IoT as supporting small amounts of data | https://www.vodafone.co.uk/business/iot/iot-faqs | 2026-07-27 | Operator primary | Excludes video/raw high-rate data
LoRaWAN smart buildings | LoRa Alliance identifies environmental, leak, occupancy, metering and predictive-maintenance applications | https://lora-alliance.org/buildings-vertical-market/ | 2026-07-27 | Industry body | Building/campus suitability
LoRaWAN/NB-IoT comparison | LoRaWAN evidence for smart buildings and utilities | https://lora-alliance.org/wp-content/uploads/2020/11/cr-lora-102_lorawanr_and_nb-iot.pdf | 2026-07-27 | Industry white paper | Category fit scoring
LoRa gateway | UG65 supports indoor deployments and up to 2,000 devices | https://www.milesight.com/iot/product/lorawan-gateway/ug65 | 2026-07-27 | Vendor primary | Gateway capacity assumption
UK device/gateway pricing | Public UK prices for LoRaWAN, NB-IoT sensors and gateways | https://ukiot.io/shop/ | 2026-07-27 | Distributor | Hardware planning benchmarks
LoRaWAN server | The Things Stack provides managed cloud and free discovery tier | https://www.thethingsindustries.com/stack/plans/ | 2026-07-27 | Vendor primary | Network-server architecture
LoRaWAN server price anchor | AWS Marketplace lists $0.336/hour to register up to 1,000 devices | https://aws.amazon.com/marketplace/pp/prodview-djx65iyt6w5cy | 2026-07-27 | Marketplace | £0.20/device/month planning benchmark at scale
LPWA comparison | GSMA compares bandwidth, latency, battery, spectrum and module cost across NB-IoT and LoRaWAN | https://www.gsma.com/solutions-and-impact/connectivity-for-good/mobile-for-development/wp-content/uploads/2023/04/IoT-for-Development-Use-cases-delivering-impact.pdf | 2026-07-27 | Industry body | Technical decision gates